## Slide 1
OPAL-RT Microgrid PHIL Test Bench
Hardware
OP4610XG real-time simulator
5kW 3-phase 4-quadrant PHIL amplifier
6kW 500V DC power supply
Hardware-in-the-loop simulation example
66kV AC-grid
145kW 3-phase distribution load
480V 1MWh battery energy storage system
480V 12kVA photovoltaic generation system
575V 10kVA wind turbine generation system
600V 70kVA diesel generation system
OPAL-RT High-End Performance Real-Time Simulator
Hardware
OP5707XG real-time simulator
Intel Xeon 8 cores, 3.8 GHz
Xilinx Virtex 7 485T
Real-time simulation capability
Full scale transmission grid
Modeling and Data Analytics Server
optical fiber
remote access
ethernet
Imperix Rapid Control Prototyping for Power Electronics Applications
SIEMENS eMobility DC Fast-Charger
ethernet
optical fiber
Hardware
4 kW squirrel cage induction machine
4 kW permanent magnet synchronous machine
800V/38A SiC half-bridge modules
Bidirectional torque sensor
2x PT1000 temperature sensors
Resolver (position sensor)
Real-time simulation capability
Control hardware-in-the-loop (C-HIL)
Grid-following and grid-forming control schemes
Wind turbine emulation
Hardware
SICHARGE UC 150 power control cabinet 150kW/480V
SICHARGE UC 150kW dispenser
Capability
100–200 miles per 30 minutes of charging
ethernet
Vizimax PMU
Hardware
10x digital inputs
6x high-current digital outputs
Measurements
Synchrophasor up to 240 frames per second
Sampled values reporting with IEC 61850-9-2LE and IEC 61869-9

## Slide 2
High-Power Resistive Load Bank
NHR 9410 Regenerative Grid Simulator 12kW (3 phases)
NHR 9430 AC Regenerative Load 12kW (3 phases)
NHR 4760 DC Electronic Loads 600V, 6kW
ITECH Bidirectional DC Power Supply 300V/120A/12kW
Fronius Symo Advanced 208-240V 3-Phase Inverter 10kW
Keithley High-Precision Sourcemeter
Digital Oscilloscopes
Digital Multimeters
Digital DC Power Supply
Digital Function Generator

## Slide 3
Lucas-Nuelle: ESG1 Smart Grid Trainer
Lucas-Nuelle: EUC Energy Management
Lucas-Nuelle: EPH Professional Photovoltaics Trainer
Lucas-Nuelle: EUG1 Manually Operated Synchronous Circuits
Lucas-Nuelle power grid training systems

## Slide 4
Amatrol Photovoltaic Troubleshooting Learning System 950-SPT1
Amatrol Photovoltaic Installation Learning System 950-SPF1